## Sheet1
| Equipment | Task | Firms |  |  | Remarks
|  |  | 1. DigiTech Pakistan | 2. Fiction Medical | 3. Everest Engg
1 | Chemistry Analyzer | PPM, Calibration | 8600 | 9000
2 | Centrifuge Machine | PPM | 5500 | 4000
3 | Aneshesia Machine | PPM, Calibration | 42500 | 25000
4 | Cardiac Monitor | PPM, Calibration | 6200 | 5000
5 | Diathermy Machine | PPM | 5350 | 4000
6 | Suction Machine | PPM, Calibration | 8100 | 4000
7 | OT Light - Double Dome | PPM | 9800 | 4000
8 | Baby Intensive care unit | PPM | 10560 | 6000
9 | Portable Suction Machine | PPM | 5800 | 4000
10 | Baby Incubator | PPM, Calibration | 12600 | 6000
11 | Fetal Dopple Detector | PPM, Calibration | 4000 | 14000
12 | Ultrasound Machine | PPM, Calibration | 12250 | 19000
13 | CTG Machine | PPM, Calibration | 8700 | 14000
14 | Suction Machine | PPM | 8100 | 4000
15 | Defibrillator | PPM | 12830 | 6000
| Grand Total |  | 160890 | 128000 | 0